SPECIFICATION:

General for the building:

- Reinforced concrete frame construction

- Exterior facade walls - bricks; 25 cm thick; inside - KNAUF plasterboard; exterior - facade thermal insulation system BAUMIT

- Interior  walls, inside apartments - KNAUF light partition walls, increased acoustic insulation.

- Partitioning  walls, between apartments and common parts of the building – bricks, plaster, plasterboards

- Roof – full water and thermal insulation systems

- Windows – double glazed German windows, coloured PVC, thermo-breaking system

- Railings - stainless steel and glass

- Staircase and common spaces floors – granitogres tiles

- Ceilings – suspended plasterboard ceilings KNAUF, white painted

- Wall finishes – latex painted, coloured

- Elevators

apartments:

- Inner doors – veneer

- Entry doors - armoured

- Ceilings – suspended plasterboard ceilings “KNAUF”, white latex

- Floors - balcony – granitogres tiles, non slippery

- Floors - kitchen, corridor, bath – terra-cotta tiles

- Floors - living room and bedroom – laminated parquet

- Walls - bathroom – faience tiles

- Walls – rooms, corridor - plaster, plasterboard, latex painted, coloured

- Electric installations – fuse boxes, safety devices, electrometer, switches, wall plugs

- Installations: intercom, doorbell, telephone, TV cable and cable internet

- Water Supply and Sewerage System: water gauges and installation of PVC pipes, hot water boilers

- Bathroom - fully equipped with mounted fixtures

- Individual air conditioner for both heating and cooling in the living rooms

- Individual storage room in the basement.

GENERAL facilities

- Landscaped green areas

- Parking spaces – slabs with grass

- Swimming pool

- Coffee-club

- Laundry – self service, with individual machines

- Access control department, fence

Additional finishing works (not included in the main price)

- Kitchen furnishing and appliances - according to an individual project, approved by the Client

- Optional full furniture package